## Slide 1: Prosthetic Cover ENGS 241 CAD
Varoujan Anbarson Lilit Yerknapeshyan Aspet Davoodi

## Slide 2: Who is our target customer? How did that affect the implementation?

## Slide 4: The Details of the Design

## Slide 5: Materials
Robust, Durable, Lightweight
PETG
Carbon Fiber

## Slide 6: Parts
Cover consists of parts BACK and FRONT
Carbon fiber inserts are attached to the FRONT cover
A disk is used to position the FRONT cover on the prosthetic to make the assembling easier
Carbon Fiber plates

## Slide 7: Parts for Assembling
Flat head screws
M4x0.7mm, M3.5x0.6mm, M3x0.5mm
Brass Screw-to-Expand inserts for attaching the covers to each other
Stainless steel flanged Screw-to-Expand inserts to attach the disk to the FRONT cover

## Slide 8: How should our cover be assembled?

## Slide 14: What were the alternatives?

## Slide 15: Ideas we did not implement Why not?
A tool compartment
Attach the carbon plates by just putting it inside the designated area, where a leap would hold the plates
Too much space
Does not coincide with the initial idea of the design

## Slide 16: Last, but not least design

## Slide 21
Thank You For Your Attention